## Table 1,2,3
Table 1: Water Demand 1)
Designation |  | Unit | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Population
| Total | No | 53463 | 54816.4158 | 56204.0934 | 57626.9 | 59085.725 | 60581.4801 | 62115.1003 | 63687.5441 | 65299.7943 | 66952.8585 | 68647.7702 | 70385.5885 | 72167.3996 | 73994.3174 | 75867.4835 | 77788.0688 | 79757.2738 | 81776.3292 | 83846.497 | 85969.071 | 88145.3781
| - Existing Areas | No | 53463 | 54816.4158 | 56204.0934 | 57626.9 | 59085.725 | 60581.4801 | 62115.1003 | 63687.5441 | 65299.7943 | 66952.8585 | 68647.7702 | 70385.5885 | 72167.3996 | 73994.3174 | 75867.4835 | 77788.0688 | 79757.2738 | 81776.3292 | 83846.497 | 85969.071 | 88145.3781
| - New Development Area | No | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| - New Towns and Villages | No | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total new population | No | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| - Growth rate | %/a | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315 | 2.5315
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| - Population served | % | 54 | 53.2 | 52.4 | 51.6 | 50.8 | 50 | 59.6 | 69.2 | 78.8 | 88.4 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98
| - Domestic | No | 28870.02 | 29162.3332 | 29450.9449 | 29735.4804 | 30015.5483 | 30284.7401 | 37020.5998 | 44071.7805 | 51456.2379 | 59186.327 | 67274.8148 | 68977.8767 | 70724.0516 | 72514.431 | 74350.1338 | 76232.3075 | 78162.1283 | 80140.8026 | 82169.567 | 84249.6896 | 86382.4705
Specific Water demand
| - Domestic | l/cap/day | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5
| increase | %/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| billing ratio | % | 62.5 | 70 | 77.5 | 85 | 92.5 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
| actual consumption | l/cap/day | 57.1875 | 64.05 | 70.9125 | 77.775 | 84.6375 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5
Total Water Consumption
| - Domestic | mill. m3/a | 0.96419 | 0.97395 | 0.98359 | 0.99309 | 1.0024 | 1.0114 | 1.2364 | 1.4719 | 1.7185 | 1.9767 | 2.2468 | 2.3037 | 2.362 | 2.4218 | 2.4831 | 2.546 | 2.6104 | 2.6765 | 2.7443 | 2.8137 | 2.885
| - Commercial/Industry | mill. m3/a | 0.096419 | 0.097395 | 0.098359 | 0.099309 | 0.10024 | 0.10114 | 0.12364 | 0.14719 | 0.17185 | 0.19767 | 0.22468 | 0.23037 | 0.2362 | 0.24218 | 0.24831 | 0.2546 | 0.26104 | 0.26765 | 0.27443 | 0.28137 | 0.2885
| - Institutional 2) | mill. m3/a | 0.17387 | 0.17563 | 0.17737 | 0.17908 | 0.18077 | 0.18239 | 0.22296 | 0.26542 | 0.3099 | 0.35645 | 0.40516 | 0.41542 | 0.42594 | 0.43672 | 0.44777 | 0.45911 | 0.47073 | 0.48265 | 0.49487 | 0.50739 | 0.52024
Total Net Demand |  | mill. m3/a | 1.2345 | 1.247 | 1.2593 | 1.2715 | 1.2835 | 1.295 | 1.583 | 1.8845 | 2.2003 | 2.5308 | 2.8767 | 2.9495 | 3.0241 | 3.1007 | 3.1792 | 3.2597 | 3.3422 | 3.4268 | 3.5136 | 3.6025 | 3.6937
| - Commercial/Industry | % | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
| - Institutional | l/cap/d | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5
| UFW 3) | % | 65 | 58 | 51 | 44 | 37 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
|  | mill. m3/a | 0.80241 | 0.72324 | 0.64225 | 0.55945 | 0.47488 | 0.38849 | 0.4749 | 0.56535 | 0.66008 | 0.75924 | 0.863 | 0.88484 | 0.90724 | 0.93021 | 0.95376 | 0.9779 | 1.0027 | 1.028 | 1.0541 | 1.0807 | 1.1081
Gross Demand |  | mill. m3/a | 2.0369 | 1.9702 | 1.9016 | 1.8309 | 1.7583 | 1.6835 | 2.0579 | 2.4498 | 2.8603 | 3.29 | 3.7397 | 3.8343 | 3.9314 | 4.0309 | 4.133 | 4.2376 | 4.3449 | 4.4548 | 4.5676 | 4.6832 | 4.8018
1) Based on actual information and assumptions discussed in the report |  |  | 2009: 2) including schools. Health and public services; 2015: 3) including 5% treatment works losses
Table 3: Connections
Designation |  | Unit | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Households |  |  | 3954.7973 | 3994.8402 | 4034.376 | 4073.3535 | 4111.7189 | 5047.4567 | 6170.1 | 7345.2967 | 8576.0396 | 9864.3878 | 13454.963 | 13795.5753 | 14144.8103 | 14502.8862 | 14870.0268 | 15246.4615 | 15632.4257 | 16028.1605 | 16433.9134 | 16849.9379 | 17276.4941
| < 10 m3/month | No | 1146.8912 | 1158.5036 | 1169.969 | 1181.2725 | 1192.3985 | 1463.7624 | 1789.329 | 2130.1361 | 2487.0515 | 2860.6725 | 3901.9393 | 4000.7168 | 4101.995 | 4205.837 | 4312.3078 | 4421.4738 | 4533.4034 | 4648.1666 | 4765.8349 | 4886.482 | 5010.1833
| 11 - 20 m3/month | No | 1858.7547 | 1877.5749 | 1896.1567 | 1914.4761 | 1932.5079 | 2372.3046 | 2899.947 | 3452.2895 | 4030.7386 | 4636.2623 | 6323.8326 | 6483.9204 | 6648.0609 | 6816.3565 | 6988.9126 | 7165.8369 | 7347.2401 | 7533.2354 | 7723.9393 | 7919.4708 | 8119.9522
| > 20 m3/month | No | 949.1513 | 958.7616 | 968.2502 | 977.6048 | 986.8125 | 1211.3896 | 1480.824 | 1762.8712 | 2058.2495 | 2367.4531 | 3229.1911 | 3310.9381 | 3394.7545 | 3480.6927 | 3568.8064 | 3659.1508 | 3751.7822 | 3846.7585 | 3944.1392 | 4043.9851 | 4146.3586
| Total Household connections | No | 3954.7973 | 3994.8402 | 4034.376 | 4073.3535 | 4111.7189 | 5047.4567 | 6170.1 | 7345.2967 | 8576.0396 | 9864.3878 | 13454.963 | 13795.5753 | 14144.8103 | 14502.8862 | 14870.0268 | 15246.4615 | 15632.4257 | 16028.1605 | 16433.9134 | 16849.9379 | 17276.4941
| Growth rate commerc/indust | % | 0 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.245 | 0.44 | 0.635 | 0.83 | 1.025 | 1.22 | 1.415 | 1.61 | 1.805 | 2 | 2.0667 | 2.1333 | 2.2 | 2.2667 | 2.3333
| Growth rate institutions | % | 1 | 0.81 | 0.62 | 0.43 | 0.24 | 0.05 | 0.245 | 0.44 | 0.635 | 0.83 | 1.025 | 1.22 | 1.415 | 1.61 | 1.805 | 2 | 2.0667 | 2.1333 | 2.2 | 2.2667 | 2.3333
Commercial/Industry |  | No | 450 | 450.045 | 450.135 | 450.27 | 450.4502 | 450.6754 | 451.7795 | 453.7674 | 456.6488 | 460.439 | 465.1585 | 470.8334 | 477.4957 | 485.1834 | 493.9409 | 503.8198 | 514.232 | 525.2023 | 536.7568 | 548.9233 | 561.7315
Institutions |  | No | 240 | 241.944 | 243.4441 | 244.4909 | 245.0776 | 245.2002 | 245.8009 | 246.8824 | 248.4501 | 250.5123 | 253.08 | 256.1676 | 259.7924 | 263.975 | 268.7398 | 274.1146 | 279.7796 | 285.7483 | 292.0347 | 298.6542 | 305.6228
Total Connections
| Beginning | No | 4644.7973 | 4686.8292 | 4727.9551 | 4768.1144 | 4807.2467 | 5743.3322 | 6867.6804 | 8045.9466 | 9281.1386 | 10575.3391 | 14173.2015 | 14522.5764 | 14882.0984 | 15252.0446 | 15632.7075 | 16024.3958 | 16426.4373 | 16839.1111 | 17262.7049 | 17697.5153 | 18143.8483
| Additional | No | 0 | 41.1259 | 40.1593 | 39.1324 | 936.0855 | 1124.3482 | 1178.2661 | 1235.192 | 1294.2005 | 3597.8624 | 349.3749 | 359.5221 | 369.9462 | 380.6629 | 391.6883 | 402.0415 | 412.6738 | 423.5938 | 434.8105 | 446.333 | 458.1709
| Ending | No | 4644.7973 | 4727.9551 | 4768.1144 | 4807.2467 | 5743.3322 | 6867.6804 | 8045.9466 | 9281.1386 | 10575.3391 | 14173.2015 | 14522.5764 | 14882.0984 | 15252.0446 | 15632.7075 | 16024.3958 | 16426.4373 | 16839.1111 | 17262.7049 | 17697.5153 | 18143.8483 | 18602.0193
Table 2 : Water per User Group 1)
Designation |  | Unit | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Domestic
| 0 - 10 m3 | mill. m3/a | 0.27961 | 0.28245 | 0.28524 | 0.288 | 0.29071 | 0.29332 | 0.35855 | 0.42685 | 0.49837 | 0.57324 | 0.65158 | 0.66807 | 0.68498 | 0.70232 | 0.7201 | 0.73833 | 0.75702 | 0.77619 | 0.79583 | 0.81598 | 0.83664
| 11 - 20 m3 | mill. m3/a | 0.45317 | 0.45776 | 0.46229 | 0.46675 | 0.47115 | 0.47537 | 0.58111 | 0.69179 | 0.8077 | 0.92904 | 1.056 | 1.0827 | 1.1101 | 1.1382 | 1.1671 | 1.1966 | 1.2269 | 1.258 | 1.2898 | 1.3225 | 1.3559
| 0 - 10 m3 | mill. m3/a | 0.015614 | 0.015772 | 0.015928 | 0.016082 | 0.016233 | 0.019927 | 0.02436 | 0.028999 | 0.033858 | 0.038945 | 0.05312 | 0.054465 | 0.055844 | 0.057257 | 0.058707 | 0.060193 | 0.061717 | 0.063279 | 0.064881 | 0.066524 | 0.068208
| 11 - 20 m3 | mill. m3/a | 0.43755 | 0.44198 | 0.44636 | 0.45067 | 0.45492 | 0.45545 | 0.55675 | 0.66279 | 0.77384 | 0.89009 | 1.0029 | 1.0283 | 1.0543 | 1.081 | 1.1084 | 1.1364 | 1.1652 | 1.1947 | 1.2249 | 1.2559 | 1.2877
| > 20 m3 | mill. m3/a | 0.2314 | 0.23375 | 0.23606 | 0.23834 | 0.24059 | 0.24274 | 0.29673 | 0.35325 | 0.41244 | 0.4744 | 0.53923 | 0.55289 | 0.56688 | 0.58123 | 0.59595 | 0.61103 | 0.6265 | 0.64236 | 0.65862 | 0.67529 | 0.69239
| 0 - 10 m3 | mill. m3/a | 0.0087702 | 0.008859 | 0.0089466 | 0.0090331 | 0.0091181 | 0.011193 | 0.013683 | 0.016289 | 0.019018 | 0.021875 | 0.029838 | 0.030593 | 0.031368 | 0.032162 | 0.032976 | 0.033811 | 0.034666 | 0.035544 | 0.036444 | 0.037366 | 0.038312
| 11 - 20 m3 | mill. m3/a | 0.0034169 | 0.0034515 | 0.0034857 | 0.0035194 | 0.0035525 | 0.004361 | 0.005331 | 0.0063463 | 0.0074097 | 0.0085228 | 0.011625 | 0.011919 | 0.012221 | 0.01253 | 0.012848 | 0.013173 | 0.013506 | 0.013848 | 0.014199 | 0.014558 | 0.014927
| > 20 m3 | mill. m3/a | 0.21922 | 0.22144 | 0.22363 | 0.22579 | 0.22792 | 0.22719 | 0.27772 | 0.33062 | 0.38601 | 0.444 | 0.49777 | 0.51037 | 0.52329 | 0.53654 | 0.55012 | 0.56405 | 0.57833 | 0.59297 | 0.60798 | 0.62337 | 0.63915
Commercial / Industry |  | mill. m3/a | 0.096419 | 0.097395 | 0.098359 | 0.099309 | 0.10024 | 0.10114 | 0.12364 | 0.14719 | 0.17185 | 0.19767 | 0.22468 | 0.23037 | 0.2362 | 0.24218 | 0.24831 | 0.2546 | 0.26104 | 0.26765 | 0.27443 | 0.28137 | 0.2885
Institutions 2) |  | mill. m3/a | 0.17387 | 0.17563 | 0.17737 | 0.17908 | 0.18077 | 0.18239 | 0.22296 | 0.26542 | 0.3099 | 0.35645 | 0.40516 | 0.41542 | 0.42594 | 0.43672 | 0.44777 | 0.45911 | 0.47073 | 0.48265 | 0.49487 | 0.50739 | 0.52024
| Total | mill. m3/a | 1.2345 | 1.247 | 1.2593 | 1.2715 | 1.2835 | 1.295 | 1.583 | 1.8845 | 2.2003 | 2.5308 | 2.8767 | 2.9495 | 3.0241 | 3.1007 | 3.1792 | 3.2597 | 3.3422 | 3.4268 | 3.5136 | 3.6025 | 3.6937
1) based on current water consumption
2) including municipalities and institutions such as hospitals schools
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Table 4
|  |  |  | Table 4: Water Tariffs |  |  |  |  | constant 2005 prices |  |  |  | 12.25 | % real increases per year
|  |  |  | Designation |  | Unit | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Domestic
[5 empty] | 0 - 10 m3 1) | Ksh/m3 | 20 | 20 | 22.45 | 25.2001 | 28.2871 | 31.7523 | 35.642 | 40.0081 | 44.9091 | 50.4105 | 56.5858 | 63.5175 | 71.2984 | 80.0325 | 89.8364 | 100.8414 | 113.1945 | 127.0608 | 142.6257 | 160.0974 | 179.7093
[5 empty] | 11 - 20 m3 | Ksh/m3 | 25 | 25 | 28.0625 | 31.5002 | 35.3589 | 39.6904 | 44.5525 | 50.0101 | 56.1364 | 63.0131 | 70.7322 | 79.3969 | 89.123 | 100.0406 | 112.2956 | 126.0518 | 141.4931 | 158.826 | 178.2822 | 200.1218 | 224.6367
[5 empty] | > 20 m3 | Ksh/m3 | 30 | 30 | 33.675 | 37.8002 | 42.4307 | 47.6285 | 53.463 | 60.0122 | 67.3637 | 75.6157 | 84.8786 | 95.2763 | 106.9476 | 120.0487 | 134.7547 | 151.2621 | 169.7917 | 190.5912 | 213.9386 | 240.1461 | 269.564
|  |  |  | Commercial 2) |  | Ksh/m3 | 33.75 | 33.75 | 37.8844 | 42.5252 | 47.7345 | 53.582 | 60.1458 | 67.5137 | 75.7841 | 85.0677 | 95.4885 | 107.1858 | 120.3161 | 135.0548 | 151.599 | 170.1699 | 191.0157 | 214.4151 | 240.681 | 270.1644 | 303.2595
Institutions
[5 empty] | - General 2) | Ksh/m3 | 45 | 45 | 50.5125 | 56.7003 | 63.6461 | 71.4427 | 80.1944 | 90.0183 | 101.0455 | 113.4236 | 127.318 | 142.9144 | 160.4214 | 180.073 | 202.132 | 226.8932 | 254.6876 | 285.8868 | 320.9079 | 360.2192 | 404.346
[5 empty] | - Schools | Ksh/m3 | 20 | 20 | 22.45 | 25.2001 | 28.2871 | 31.7523 | 35.642 | 40.0081 | 44.9091 | 50.4105 | 56.5858 | 63.5175 | 71.2984 | 80.0325 | 89.8364 | 100.8414 | 113.1945 | 127.0608 | 142.6257 | 160.0974 | 179.7093
[5 empty] | - Churches/Mosques | Ksh/m3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Construction |  | Ksh/m3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Industry 2) |  | Ksh/m3 | 85 | 85 | 95.4125 | 107.1005 | 120.2203 | 134.9473 | 151.4784 | 170.0345 | 190.8637 | 214.2445 | 240.4895 | 269.9494 | 303.0182 | 340.138 | 381.8049 | 428.576 | 481.0765 | 540.0084 | 606.1594 | 680.414 | 763.7647
|  |  |  | Consumer Registration Fee |  | Ksh/con. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Meter rent households |  |  |  | Connection Fees |  | Ksh/con. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 - 10 | 0.29 | 50 | 14.5 | Meter rent
11 - 30 | 0.47 | 50 | 23.5 |  | domestic | Ksh/con. | 50 | 50 | 56.125 | 63.0003 | 70.7179 | 79.3808 | 89.1049 | 100.0203 | 112.2728 | 126.0262 | 141.4644 | 158.7938 | 178.246 | 200.0812 | 224.5911 | 252.1035 | 282.9862 | 317.652 | 356.5644 | 400.2435 | 449.2733
> 30 | 0.24 | 50 | 12 |  | commercial/industry | Ksh/con. | 800 | 800 | 898 | 1008.005 | 1131.4856 | 1270.0926 | 1425.6789 | 1600.3246 | 1796.3644 | 2016.419 | 2263.4303 | 2540.7006 | 2851.9364 | 3201.2986 | 3593.4577 | 4033.6562 | 4527.7791 | 5082.4321 | 5705.03 | 6403.8962 | 7188.3734
|  |  | 50 |  | institutions | Ksh/con. | 450 | 450 | 505.125 | 567.0028 | 636.4607 | 714.4271 | 801.9444 | 900.1826 | 1010.455 | 1134.2357 | 1273.1796 | 1429.1441 | 1604.2142 | 1800.7305 | 2021.3199 | 2268.9316 | 2546.8758 | 2858.868 | 3209.0794 | 3602.1916 | 4043.4601
Customers Deposit
[5 empty] | domestic | Ksh/con. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | commercial/industry | Ksh/con. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | institutions | Ksh/con. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Exchange rate (Ksh/€) 3) |  |  | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88
|  |  |  | Domestic |  | Unit | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
[5 empty] | 0 - 10 m3 | €/m3 | 0.22727 | 0.22727 | 0.25511 | 0.28637 | 0.32144 | 0.36082 | 0.40502 | 0.45464 | 0.51033 | 0.57285 | 0.64302 | 0.72179 | 0.81021 | 0.90946 | 1.0209 | 1.1459 | 1.2863 | 1.4439 | 1.6207 | 1.8193 | 2.0422
[5 empty] | 11 - 20 m3 | €/m3 | 0.28409 | 0.28409 | 0.31889 | 0.35796 | 0.40181 | 0.45103 | 0.50628 | 0.5683 | 0.63791 | 0.71606 | 0.80377 | 0.90224 | 1.0128 | 1.1368 | 1.2761 | 1.4324 | 1.6079 | 1.8048 | 2.0259 | 2.2741 | 2.5527
[5 empty] | > 20 m3 | €/m3 | 0.34091 | 0.34091 | 0.38267 | 0.42955 | 0.48217 | 0.54123 | 0.60753 | 0.68196 | 0.7655 | 0.85927 | 0.96453 | 1.0827 | 1.2153 | 1.3642 | 1.5313 | 1.7189 | 1.9295 | 2.1658 | 2.4311 | 2.7289 | 3.0632
|  |  |  | Commercial |  | €/m3 | 0.38352 | 0.38352 | 0.4305 | 0.48324 | 0.54244 | 0.60889 | 0.68348 | 0.7672 | 0.86118 | 0.96668 | 1.0851 | 1.218 | 1.3672 | 1.5347 | 1.7227 | 1.9337 | 2.1706 | 2.4365 | 2.735 | 3.07 | 3.4461
Institutions
|  |  |  | - General |  | €/m3 | 0.51136 | 0.51136 | 0.57401 | 0.64432 | 0.72325 | 0.81185 | 0.9113 | 1.0229 | 1.1482 | 1.2889 | 1.4468 | 1.624 | 1.823 | 2.0463 | 2.297 | 2.5783 | 2.8942 | 3.2487 | 3.6467 | 4.0934 | 4.5948
|  |  |  | - Schools / Hospitals |  | €/m3 | 0.22727 | 0.22727 | 0.25511 | 0.28637 | 0.32144 | 0.36082 | 0.40502 | 0.45464 | 0.51033 | 0.57285 | 0.64302 | 0.72179 | 0.81021 | 0.90946 | 1.0209 | 1.1459 | 1.2863 | 1.4439 | 1.6207 | 1.8193 | 2.0422
|  |  |  | - Chuches/Mosques |  | €/m3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Construction |  | €/m3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Industry |  | €/m3 | 0.96591 | 0.96591 | 1.0842 | 1.2171 | 1.3661 | 1.5335 | 1.7213 | 1.9322 | 2.1689 | 2.4346 | 2.7328 | 3.0676 | 3.4434 | 3.8652 | 4.3387 | 4.8702 | 5.4668 | 6.1365 | 6.8882 | 7.732 | 8.6791
|  |  |  | Consumer Registration Fee |  | €/con. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Connection Fees |  | €/con. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Meter rent
[5 empty] | domestic | €/con. | 0.56818 | 0.56818 | 0.63778 | 0.71591 | 0.80361 | 0.90205 | 1.0126 | 1.1366 | 1.2758 | 1.4321 | 1.6075 | 1.8045 | 2.0255 | 2.2736 | 2.5522 | 2.8648 | 3.2158 | 3.6097 | 4.0519 | 4.5482 | 5.1054
[5 empty] | commercial/industry | €/con. | 9.0909 | 9.0909 | 10.2045 | 11.4546 | 12.8578 | 14.4329 | 16.2009 | 18.1855 | 20.4132 | 22.9139 | 25.7208 | 28.8716 | 32.4084 | 36.3784 | 40.8347 | 45.837 | 51.452 | 57.7549 | 64.8299 | 72.7715 | 81.6861
[5 empty] | institutions | €/con. | 5.1136 | 5.1136 | 5.7401 | 6.4432 | 7.2325 | 8.1185 | 9.113 | 10.2293 | 11.4824 | 12.889 | 14.4679 | 16.2403 | 18.2297 | 20.4628 | 22.9695 | 25.7833 | 28.9418 | 32.4871 | 36.4668 | 40.934 | 45.9484
Customers Deposit
[5 empty] | domestic | €/con. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | commercial/industry | €/con. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | institutions | €/con. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 1) | tariffs in 2006 correspond to present tariffication |  | 2009: 2) average rates of different consumption groups
|  |  |  | 3) | for details see Chapter "Introduction" in the report

## Table 5,6,7
TABLE 5 : Existing Infrastructure 1)
|  | Unit |  | Investment |  |  | Tax | other | Total |  |  |  |  | Quote part |  | Economic
Designation | Unit | Cost | Quantity | foreign | local | Total | 2) | taxes, fees | Cost | Civil | M&E | Mobile | Services | local 3) | foreign | life
|  | 000 € |  | 000 € | 000 € | 000 € | 000 € | 000 € | Mill. € |  |  | equipm. |  | % | % | years
Preparatory works
Feasibility study | ls | 15 | 1 | 10.5 | 4.5 | 15 | 0 | 0 | 0.015 |  |  |  | 0.015 | 30 | 70 | 15
Leak detection | ls | 20 | 1 | 12.4 | 7.6 | 20 | 0 | 0 | 0.02 |  |  |  | 0.02 | 38 | 62 | 15
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 30 | 70 | 40
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 100 | 15
Sub Total |  |  |  | 22.9 | 12.1 | 35 | 0 | 0 | 0.035 | 0 | 0 | 0 | 0.035 | 34.5714 | 65.4286
Raw Water Intake
Pumping stations | ls | 56.818 | 1 | 22.7272 | 34.0908 | 56.818 | 0 | 0 | 0.056818 | 0.03125 | 0.025568 |  |  | 60 | 40 | 40
Rising mains | ls | 24.214 | 1 | 21.7926 | 2.4214 | 24.214 | 0 | 0 | 0.024214 | 0.019371 | 0.0048428 |  |  | 10 | 90 | 15
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 80 | 20 | 40
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 80 | 20 | 40
Sub Total |  |  |  | 44.5198 | 36.5122 | 81.032 | 0 | 0 | 0.081032 | 0.050621 | 0.030411 | 0 | 0 | 45.059 | 54.941
Boreholes
BH 1 - BH 8 | ls | 51.149 | 1 | 23.017 | 28.1319 | 51.149 | 0 | 0 | 0.051149 | 0.051149 |  |  |  | 55 | 45 | 40
BH 2 | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 25 | 75 | 40
BH 3 | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 35 | 65
Service road | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 70 | 30 | 15
Sub Total |  |  |  | 23.017 | 28.1319 | 51.149 | 0 | 0 | 0.051149 | 0.051149 | 0 | 0 | 0 | 55 | 45
Water Treatment Plant
Pumping stations | ls | 90.909 | 1 | 13.6364 | 77.2726 | 90.909 | 0 | 0 | 0.090909 | 0.05 | 0.040909 |  |  | 85 | 15 | 40
Buildings | ls | 85.227 | 1 | 38.3522 | 46.8749 | 85.227 | 0 | 0 | 0.085227 | 0.068182 | 0.017045 |  |  | 55 | 45 | 40
Composite Treatment Units | ls | 306.818 | 1 | 46.0227 | 260.7953 | 306.818 | 0 | 0 | 0.30682 | 0.21477 | 0.092045 |  |  | 85 | 15
Rising mains | ls | 507.785 | 1 | 223.4254 | 284.3596 | 507.785 | 0 | 0 | 0.50778 | 0.35545 | 0.15234 |  |  | 56 | 44
Mobile equipment | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 65 | 35
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 80 | 20
Sub Total |  |  |  | 321.4366 | 669.3024 | 990.739 | 0 | 0 | 0.99074 | 0.6884 | 0.30234 | 0 | 0 | 67.5559 | 32.4441
Sewerage System
Sewage Treatment Works | ls | 767.045 | 1 | 337.4998 | 429.5452 | 767.045 | 0 | 0 | 0.76704 | 0.38352 | 0.38352 |  |  | 56 | 44 | 15
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 52 | 48
Sewer Network | ls | 488.636 | 1 | 244.318 | 244.318 | 488.636 | 0 | 0 | 0.48864 | 0.34205 | 0.14659 |  |  | 50 | 50
Sub Total |  |  |  | 581.8178 | 673.8632 | 1255.681 | 0 | 0 | 1.2557 | 0.72557 | 0.53011 | 0 | 0 | 53.6652 | 46.3348
Storage System
Elevated Steel Tank, Capacity 50 m3 | ls | 5.682 | 1 | 3.1251 | 2.5569 | 5.682 | 0 | 0 | 0.005682 | 0.0019887 | 0.0036933 |  |  | 45 | 55
Elevated Steel Tank, Capacity 90 m3 | ls | 12.727 | 1 | 6.9999 | 5.7271 | 12.727 | 0 | 0 | 0.012727 | 0.0044544 | 0.0082726 |  |  | 45 | 55
Elevated Steel Tank, Capacity 90 m3 | ls | 45.455 | 1 | 6.8182 | 38.6367 | 45.455 | 0 | 0 | 0.045455 | 0.015909 | 0.029546 |  |  | 85 | 15
Elevated Steel Tank, Capacity 45 m3 | ls | 10.227 | 1 | 1.534 | 8.693 | 10.227 | 0 | 0 | 0.010227 | 0.0035795 | 0.0066476 |  |  | 85 | 15
Capacity 5.000 m3 | piece | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 85 | 15
Capacity 7.500 m3 | piece | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 85 | 15
Capacity 10.000 m3 | piece | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 85 | 15
Capacity 15.000 m3 | piece | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 85 | 15
Capacity 20.000 m3 | piece | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 85 | 15
Capacity 30.000 m3 | piece | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 85 | 15
Sub Total |  |  |  | 18.4773 | 55.6138 | 74.091 | 0 | 0 | 0.074091 | 0.025932 | 0.048159 | 0 | 0 | 75.0614 | 24.9386
Distribution Sytem
Primary | ls | 1635.718 | 1 | 572.5013 | 1063.2167 | 1635.718 | 0 | 0 | 1.6357 | 1.6357 |  |  |  | 65 | 35
Secondary | ls | 317.876 | 1 | 111.2566 | 206.6194 | 317.876 | 0 | 0 | 0.31788 | 0.31788 |  |  |  | 65 | 35
Tertiary | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 70 | 30
House connections | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 85 | 15
Sub Total |  |  |  | 683.7579 | 1269.8361 | 1953.594 | 0 | 0 | 1.9536 | 1.9536 | 0 | 0 | 0 | 65 | 35
Services
| ls |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 10 | 90
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 10 | 90
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 10 | 90
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 10 | 90
Sub Total |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
Land Aquisition | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 100 | 0
Total |  |  |  | 1695.9264 | 2745.3596 | 4441.286 | 0 | 0 | 4.4413 | 3.4953 | 0.91102 | 0 | 0.035 | 61.8145 | 38.1855
1) 2005 prices | 2) no tax considered
TABLE 6 : Rehabilitation Costs 1)
|  | Unit |  | Investment |  |  | V.A.T. | other | Total |  |  |  |  | Quote part |  | Economic
Designation | Unit | Cost | Quantity | foreign | local | Total | 2) | taxes, fees | Cost | Civil | M&E | Miscell. | Services | local 3) | foreign | life
|  | 000 € |  | 000 € | 000 € | 000 € | 000 € | 000 € | Mill. € |  |  |  |  | % | % | years
Raw Water Intake | [15 empty] | 15
Rehabilitation of Pumphouse | ls | 44.318 | 1 | 17.7272 | 26.5908 | 44.318 | 0 | 0 | 0.044318 | 0.044318 |  |  |  | 60 | 40
Rehabilitation of E&M equipment | ls | 63.024 | 1 | 56.7216 | 6.3024 | 63.024 | 0 | 0 | 0.063024 | 0.018907 | 0.044117 |  |  | 10 | 90
Raw water rising mains | ls | 3.068 | 1 | 2.301 | 0.767 | 3.068 | 0 | 0 | 0.003068 | 0.003068 |  |  |  | 25 | 75
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 100 | 0 | 15
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 90 | 10 | 15
Sub Total |  |  |  | 76.7498 | 33.6602 | 110.41 | 0 | 0 | 0.11041 | 0.066293 | 0.044117 | 0 | 0 | 30.4866 | 69.5134
Boreholes | [15 empty] | 15
Rehabilitation works | ls | 26.273 | 1 | 11.8228 | 14.4501 | 26.273 | 0 | 0 | 0.026273 | 0.018391 | 0.0078819 |  |  | 55 | 45 | 40
Installation of water meters | ls | 20 | 1 | 15 | 5 | 20 | 0 | 0 | 0.02 | 0.004 | 0.016 |  |  | 25 | 75 | 40
Mechanical and electrical equipment | ls | 79.545 | 1 | 51.7043 | 27.8408 | 79.545 | 0 | 0 | 0.079545 | 0.015909 | 0.063636 |  |  | 35 | 65
Service road | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 70 | 30
Sub Total |  |  |  | 78.5271 | 47.2909 | 125.818 | 0 | 0 | 0.12582 | 0.0383 | 0.087518 | 0 | 0 | 37.5868 | 62.4132
Water Treatment Plant
Rehabilitation works | ls | 49.727 | 1 | 7.459 | 42.2679 | 49.727 | 0 | 0 | 0.049727 | 0.02735 | 0.022377 |  |  | 85 | 15 | 15
Treated water pump station | ls | 175.518 | 1 | 78.9831 | 96.5349 | 175.518 | 0 | 0 | 0.17552 | 0.052655 | 0.12286 |  |  | 55 | 45 | 0
Chemical mixing & dosing Units | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 85 | 15
Flocculation Units | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 56 | 44 | 0
Treated water rising mains | ls | 938.818 | 1 | 328.5863 | 610.2317 | 938.818 | 0 | 0 | 0.93882 | 0.56329 | 0.37553 |  |  | 65 | 35 | 0
Sub Total |  |  |  | 415.0285 | 749.0345 | 1164.063 | 0 | 0 | 1.1641 | 0.6433 | 0.52077 | 0 | 0 | 64.3466 | 35.6534
Sewerage System
Sewage Treatment Work | ls | 124 | 1 | 54.56 | 69.44 | 124 | 0 | 0 | 0.124 | 0.124 |  |  |  | 56 | 44
Sewer Network | ls | 426.488 | 1 | 204.7142 | 221.7738 | 426.488 | 0 | 0 | 0.42649 |  | 0.42649 |  |  | 52 | 48
Miscellaneous & general items | ls | 191.644 | 1 | 95.822 | 95.822 | 191.644 | 0 | 0 | 0.19164 | 0.057493 | 0.13415 |  |  | 50 | 50
Sub Total |  | 0 |  | 355.0962 | 387.0358 | 742.132 | 0 | 0 | 0.74213 | 0.18149 | 0.56064 | 0 | 0 | 52.1519 | 47.8481
Storage System
Concrete Tank,Capacity 1.120 m3 | ls | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 45 | 55 | 0
Concrete Tank,Capacity 450 m3 | ls | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 45 | 55
Elevated Steel Tank, Capacity 90 m3 | ls | 5.682 | 1 | 0.8523 | 4.8297 | 5.682 | 0 | 0 | 0.005682 | 0.0036933 | 0.0019887 |  |  | 85 | 15
Elevated Steel Tank, Capacity 45 m3 | ls | 3.409 | 1 | 0.51135 | 2.8977 | 3.409 | 0 | 0 | 0.003409 | 0.0022159 | 0.0011931 |  |  | 85 | 15
General rehabilitation works | ls | 9.092 | 1 | 1.3638 | 7.7282 | 9.092 | 0 | 0 | 0.009092 | 0.0059098 | 0.0031822 |  |  | 85 | 15
Capacity 7500 m3 | ls | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 85 | 15
Capacity 10000 m3 | ls | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 85 | 15
Capacity 15000 m3 | ls | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 85 | 15 | 0
Capacity 20000 m3 | ls | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 85 | 15 | 0
Capacity 30000 m3 | ls | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 85 | 15 | 0
Sub Total |  |  |  | 2.7275 | 15.4555 | 18.183 | 0 | 0 | 0.018183 | 0.011819 | 0.006364 | 0 | 0 | 85 | 15
Distribution System
General Rehabilitation works | ls | 8.524 | 1 | 2.9834 | 5.5406 | 8.524 | 0 | 0 | 0.008524 | 0.0025572 | 0.0059668 |  |  | 65 | 35 | 40
Rehabilitation of pipelines | ls | 113.636 | 1 | 39.7726 | 73.8634 | 113.636 | 0 | 0 | 0.11364 | 0.073863 | 0.039773 |  |  | 65 | 35 | 40
Extension of water & service mains | ls | 282.586 | 1 | 84.7758 | 197.8102 | 282.586 | 0 | 0 | 0.28259 | 0.084776 | 0.19781 |  |  | 70 | 30 | 40
Installation of water meters | ls | 251.818 | 1 | 37.7727 | 214.0453 | 251.818 | 0 | 0 | 0.25182 | 0.17627 | 0.075545 |  |  | 85 | 15
Sub Total |  |  |  | 165.3045 | 491.2595 | 656.564 | 0 | 0 | 0.65656 | 0.33747 | 0.3191 | 0 | 0 | 74.8228 | 25.1772
Control System
Scada system | ls | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 15 | 85 | 40
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 10 | 90 | 40
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 100 | 0 | 40
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 100 | 0 | 40
Sub Total |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
Miscellaneous
3 Pick-ups, Motor bikes | ls | 82.955 | 1 | 74.6595 | 8.2955 | 82.955 | 0 | 0 | 0.082955 |  |  | 0.082955 |  | 10 | 90
Tools & equipment | ls | 142.045 | 1 | 35.5112 | 106.5337 | 142.045 | 0 | 0 | 0.14205 |  |  | 0.14205 |  | 75 | 25 | 40
Billing & GIS software | ls | 40 | 1 | 0 | 40 | 40 | 0 | 0 | 0.04 |  |  | 0.04 |  | 100 | 0 | 40
Preliminaries & general items | ls | 468.008 | 1 | 0 | 468.008 | 468.008 | 0 | 0 | 0.46801 | 0.1404 | 0.32761 |  |  | 100 | 0 | 40
Sub Total |  |  |  | 110.1707 | 622.8373 | 733.008 | 0 | 0 | 0.73301 | 0.1404 | 0.32761 | 0.265 | 0 | 84.97 | 15.03
Land aquisition | ls | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 100 | 0
Total |  |  |  | 1203.6043 | 2346.5737 | 3550.178 | 0 | 0 | 3.5502 | 1.4191 | 1.8661 | 0.265 | 0 | 66.0974 | 33.9026
1) 2005 prices |  | 2) no tax considered
TABLE 7 : Investment Costs Extension 1)
|  | Unit |  | Investment |  |  | V.A.T. | other | Total |  |  |  |  | Quote part |  | Economic
Designation | Unit | Cost | Quantity | foreign | local | Total | 2) | taxes, fees | Cost | Civil | M&E | Miscell. | Services | local | foreign | life
|  | 000 € |  | 000 € | 000 € | 000 € | 000 € | 000 € | Mill. € |  |  |  |  | % | % | years
Raw Water Intake | [15 empty] | 15
New water mains | ls | 98.258 | 1 | 34.3903 | 63.8677 | 98.258 | 0 | 0 | 0.098258 | 0.049129 | 0.049129 |  |  | 65 | 35 | 15
New water pumping station | ls | 154.8 | 1 | 54.18 | 100.62 | 154.8 | 0 | 0 | 0.1548 | 0.12384 | 0.03096 |  |  | 65 | 35 | 15
| ls | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 65 | 35 | 15
| ls | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 65 | 35
| ls | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 65 | 35 | 15
Sub Total |  |  |  | 88.5703 | 164.4877 | 253.058 | 0 | 0 | 0.25306 | 0.17297 | 0.080089 | 0 | 0 | 65 | 35 | 15
Boreholes | [15 empty] | 15
General expansion works | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 65 | 35 | 15
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 65 | 35
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 65 | 35
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 65 | 35
Sub Total |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 15
Water Treatment Plant | [15 empty] | 0
Treatment works & pumps | ls | 1865.045 | 1 | 279.7568 | 1585.2883 | 1865.045 | 0 | 0 | 1.865 | 0.83927 | 1.0258 |  |  | 85 | 15
Treated water rising mains | ls | 2067.939 | 1 | 930.5725 | 1137.3664 | 2067.939 | 0 | 0 | 2.0679 | 1.4476 | 0.62038 |  |  | 55 | 45 | 0
Tratment works | ls | 1227.273 | 1 | 184.0909 | 1043.182 | 1227.273 | 0 | 0 | 1.2273 | 0.73636 | 0.49091 |  |  | 85 | 15
Pressure main | ls | 309.62 | 1 | 136.2328 | 173.3872 | 309.62 | 0 | 0 | 0.30962 | 0.092886 | 0.21673 |  |  | 56 | 44
Sub Total |  |  |  | 1530.653 | 3939.224 | 5469.877 | 0 | 0 | 5.4699 | 3.1161 | 2.3538 | 0 | 0 | 72.0167 | 27.9833 | 0
Sewerage System
5.000 m3 Treatment & ancillary works | ls | 1755.681 | 1 | 772.4996 | 983.1814 | 1755.681 | 0 | 0 | 1.7557 | 1.7557 | 0 |  |  | 56 | 44
Pipe Rising Main | ls | 125 | 1 | 60 | 65 | 125 | 0 | 0 | 0.125 | 0.125 | 0 |  |  | 52 | 48
Sewers & plot connections | ls | 860.909 | 1 | 430.4545 | 430.4545 | 860.909 | 0 | 0 | 0.86091 | 0.25827 | 0.60264 |  |  | 50 | 50
Preliminaries & General items | ls | 548.318 | 1 | 262.3599 | 285.9581 | 548.318 | 0 | 0 | 0.54832 | 0.27416 | 0.27416 |  |  | 52.1519 | 47.8481
Sub Total |  |  |  | 1525.314 | 1764.594 | 3289.908 | 0 | 0 | 3.2899 | 2.4131 | 0.8768 | 0 | 0 | 53.6366 | 46.3634
Storage System | [15 empty] | 0
5000 m3 Storage | ls | 568.182 | 1 | 312.5001 | 255.6819 | 568.182 | 0 | 0 | 0.56818 | 0.36932 | 0.19886 |  |  | 45 | 55 | 0
Concrete Tank,Capacity 450 m3 | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 45 | 55 | 0
Elevated Stel Tank, Capacity 90 m3 | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 85 | 15
Elevated Stel Tank, Capacity 45 m3 | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 85 | 15
Sub Total |  |  |  | 312.5001 | 255.6819 | 568.182 | 0 | 0 | 0.56818 | 0.36932 | 0.19886 | 0 | 0 | 45 | 55 | 40
Distribution System | [15 empty] | 40
Primary distribution | ls | 1258.245 | 1 | 440.3857 | 817.8592 | 1258.245 | 0 | 0 | 1.2582 | 1.2582 |  |  |  | 65 | 35 | 40
Secondary distribution | ls | 149.004 | 1 | 52.1514 | 96.8526 | 149.004 | 0 | 0 | 0.149 | 0.149 |  |  |  | 65 | 35
Extension of water & service mains | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 70 | 30
Installation of water meters | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 85 | 15
Sub Total |  |  |  | 492.5371 | 914.7118 | 1407.249 | 0 | 0 | 1.4072 | 1.4072 | 0 | 0 | 0 | 65 | 35 | 40
Control System | [15 empty] | 40
| ls | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 | 100 | 40
| ls | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 10 | 90 | 40
| ls | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 100
| ls | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 100 | 0
Sub Total |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
Miscellaneous | [15 empty] | 40
Preliminaries & General items | ls | 1232.295 | 1 | 308.0738 | 924.2213 | 1232.295 | 0 | 0 | 1.2323 | 1.2323 |  |  |  | 75 | 25 | 40
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  | 75 | 25 | 40
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  | 0 | 100
| ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  | 0 | 100
Sub Total |  |  |  | 308.0738 | 924.2213 | 1232.295 | 0 | 0 | 1.2323 | 1.2323 | 0 | 0 | 0 | 75 | 25
Land aquisition | ls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 100 | 0
Total |  |  |  | 4257.6484 | 7962.9206 | 12220.569 | 0 | 0 | 12.2206 | 8.711 | 3.5095 | 0 | 0 | 65.16 | 34.84