## Tabelle1
NZOIA Cluster - Water Supply Systems |  | Annex 4.8.1
Pre-Feasibility Study
Schematic Layout Plan of the KAPENGURIA & MAKUTANO Water Supply System
N
LEGEND
River Intake
Borehole / Well
Water Treatment Plant
Puming Station
Reservoir
Transmission Main
Pumping Main
Distribution Line
DN 200; 1,500m
MAKUTANO (2003) Population in Service Area: 23,000 Served Population: 5,000 Total Connections: 567 Nos. Active Connections: 90 Nos. Communal Taps: 0 Nos. Average Water billed: 25 m3/day Total Staff: 10 Nos. Distribution Network: 5 to 10 Km Service Area: ... km2
KAPENGURIA (2003) Population in Service Area: 25,000 Served Population: 5,000 Total Connections: 861 Nos. Active Connections: 73 Nos. Communal Taps: 0 Nos. Average Water billed: 25 m3/day Total Staff: 7 Nos. Distribution Network: 5 to 10 Km Service Area: ... km2
DN 200; 2,000m
Makutano WTP Design Capacity: 300 m3/day Actual Production: 510 m3/day
Kapenguria WTP Design Capacity: 250 m3/day Actual Production: 420 m3/day
DN 200; 2,500m
DN 200; 1,500m
KAPENGURIA
MAKUTANO
Kapenguria River
Koyuyanga River