## Tabelle1
NZOIA Cluster - Water Supply Systems |  | Annex 4.9.2
Pre-Feasibility Study
Schematic Layout Plan of the MALAKISI Water Supply System
N
LEGEND
River Intake
Borehole / Well
Water Treatment Plant
Puming Station
Reservoir
Transmission Main
Pumping Main
Distribution Line
Planned Distribution Line
Malakisis WTP Design Capacity: 1,700 m3/day Actual Production: 496 m3/day
DN 300; 550m
MALAKISI (2003) Population in Service Area: 23,500 Served Population: 13,500 Total Connections: 271 Nos. Active Connections: 180 Nos. Communal Taps: 0 Nos. Average Water billed: 47 m3/day Total Staff: 12 Nos. Distribution Network: ..... km Service Area: .... km2
Malakisi River
MALAKISI
Rural WS Zones
Rural WS Zones
Rural WS Zones
Rural WS Zones
Rural WS Zones
AMAGORO
MALABA
Existing Distribution Network: about 22 km, DN100-DN300
Planned Extension: 20 to 30 km, DN100-DN300